Kitchen 

This outbuilding was thought to originally be the kitchen for the main house. Additions have subsequently been added to the original log construction, and its function seems to have changed from being primarily a kitchen to being a larger living space. There are four primary spaces labeled 001, 002, 003 and 004 on the plan. 001 is the original two-story log building, with 002, 003 and 004 being later additions.

[image: image1.jpg]



Exterior

Foundation

Stone foundation on all sides except for the back shed addition, which is built on posts.

Elevation

[image: image54.jpg]


This is a two story wooden siding building with a front porch and two chimneys

Brick 

There is no brick except for the south chimney, variety of brick colors, lime mortar. The brick size is 2 1/8” X 7 ½.”

Siding
Weatherboards attached with cut nails on Rooms 001, 002. Room 003 has modern asphalt shingle veneer and wire nails. Room 004 has board-and-batten wooden siding. 

Windows

[image: image55.jpg]



There are a total of 9 windows of varying sizes and styles.  On the front (west elevation) there is one window, in room 004, that is a double sash window with a 2 ¾” window frame and interior makeshift wire mesh screen. Orig window on west   On the south elevation, there are four windows, two first story are double-hung sash windows horizontal lights, 1’ 11.25” wide. The second story windows are small rectangular windows that open from the inside with a side hinge.  The east elevation shed addition has one double sash window, measuring 1’9” across and 2’10” high with a screen. The east wall of the original kitchen has a window ..…..A second window in the east elevation is a cut-out window with a wooden frame. This window measures 2’1” across. The north elevation was inaccessible from the exterior, but there were two second story windows visible from afar. 

Doors 

There are three exterior doors. The front door to the original cabin is a board and batten door with hinges on the interior. The door has evidence of a variety of lock systems, currently a string latch and a chain lock (see picture in interior section). This door has a screen door attached on exterior wooden frame. The wooden frame measures 1” wide. The second door leads to the addition, room 002. This door is board and batten, also with a screen door attached on the exterior. The doorframe is 1” wide. The third door leads into the front addition, room 004.

Porch

[image: image56.jpg]’A\'





The west front porch was constructed off of Rooms 001, 004 and 002. There are two round wooden posts, with diameter of approximately 15” spaced 9’4” apart from one another and 14’5” from the corner of room 004.  The porch is a total length of 24’2” and a wide of 6’9”. The roof of the porch has dimensional lumber rafters that are lapped into the architrave (see sketches fig 3). Then the roof is covered in sheathing then has a tin covering, which has been rusted. Stone of   size is used for the porch floor.

Roof Covering

Tin roof covering was laid in sheets, which has been rusted. 

Chimneys

The south chimney is brick and fully intact, it is attached to room 002, The north chimney is made of stone and collapsed, it was attached to room 001. 
Interior

Room 001: Original two-story log construction. 

Floors

The floor covering is stone in a variety of sizes, on average 1’9” X 3’9”. The floors had subsequently been covered with floor mats on the first floor. The second floor, whose floor has been removed, had floorboards that were butted together and face nailed with wrought nails. They measured 6.5” - 7.”

Walls
 Log construction with mortar and chinking, then painted white. 

Ceiling 

The second story floor joists had been removed, therefore the first story ceiling had also been removed. The second story had an unfinished ceiling with exposed roof framing.

[image: image57.jpg]



Doors 

Board-and-batten front door (west wall) measuring 2’10” x 5’6”. The door had a screen hinged on the front. Hinge nails
[image: image58.jpg]


A second door is located on the south wall that leads into the addition. This door is a reused six-panel door, which had been installed upside down. There were holes where a previous hinge was installed. hinges
Windows 

[image: image59.jpg]il U

06/04/2007
| S



[image: image60.jpg]


There are second story windows flanking the chimney on the north wall. The dimension of both windows is approximately 18” X 2’. These windows have board-and-batten hinged interior shutters. Another window is on the east wall, 2’ X 1”, it has 8” deep sill and frame, a screen is attached on the exterior. A window on the west wall leads to an addition, which was referred to as the washroom. This window has been boarded up and was only measurable from the washroom side, labeled Rm 004.
Fireplace
A mantel in place on center of the wall, boarded up fireplace. The shelf measures 8’ 5”. Exterior stone is piled up behind the chimney. 

[image: image61.jpg]e ! 3 /




Hardware
Front door has a chain lock and a wooden string latch. This door also had iron strap HL hinges that are 10” X 12” (see sketches fig.1 ). There is a door knob hole on exterior. There was a metal handle that was 1.5” long. The door on the south wall has an iron L-hinge with a wooden string latch on the side of the original room. 

Stairs

There is a staircase shown on plan. The stair begins 2’ 6” from west wall and continues eastward. The trends are 3’ 4” across. Risers framing, nails
[image: image62.jpg]



Posts/Studs/Roof 

The gable studs measure 3” x  4” and are pit-sawn. The roof sheathing is 10” - 14” and the rafters are 3” x 3.5”. The collars are 2” x 3” and half-lapped with wrought nails. The rafters are lapped and pegged at the ridge. 

[image: image63.jpg]s

K

" AV

1

e

2

23 ~ 06/04/2007

B TS




Joists

The floor joists from the second story have been removed, but the stubs measure 6” X 5” They are 9” from the floor.
Room 002: Two-story addition

Floors

The floor boards are 9.5” wide. The floor level is down two steps from the original room.

Walls

Walls on the lower level are covered with 2.5” bead boards while the upper level has wide board sheathing.

Ceiling
The floor joists and boards from the second floor of this area have also been removed as in room 001. Unfinished ceiling with sheathing and collars are visible. There is a wide board roof sheathing.

[image: image64.jpg]o T, o k. S




Doors


The west front door is board-and-batten with clinched rose-head nails. A later exterior screen door was added. The east door is a modern board door with roughly cut wire mesh window, this door leads to room 003. An upstairs door at the top of the staircase is a board and batten door. 

Windows 

Two double hung 6-ver-6 sash windows flank the chimney on the south wall of the first floor. The sash is mounted horizontally. The windows measure 1’ 4” x 4’8”.  Two windows on the upper level also flanked the chimney and are single pane hinged windows.

[image: image65.jpg]


Fireplace

There is a brick fireplace still intact. The firebox is boarded up. The mantel is still in place, and measures 6’ across. The mantelshelf measures 6’8”. An additional firebox is visible on the second floor with no evidence of a mantel. 

[image: image66.jpg]06/04/2007



Stairs

The dogleg stairs in the northwest corner of the room start to the north and turn east. The treads begin as 3’1” and get smaller to 2’10” as the staircase ascends. At the top, they are 3-6 ½” stringer to stringer.
Hardware

The front door has a doorknob hole and base but is missing the knob on the exterior. The doorknob is in place on the interior of he door. The front door has a metal L-hinge that is 10” X 10” with a wooden string latch (see sketches fig 2). The first story windows have a hook-and-eye latch. The second story windows have square-butt hinges.

Post/Studs 

The roof has 3” x 4” collars that are lapped and nailed to the rafters. Rafters are lapped and pegged at the ridge. Ceiling boards 9” to 11” tongue and groove extend to upper floors. 3” x 4” rafters have roof sheathing that measures 12” to 17” wide and 1” thick.

The walls have channeled corner posts with two principle studs. The east has 3” X 4” wall studs. There are 2 principles that measure 4” X 6”. The corner posts are 8” X 8” with 4 x 4 x 4 channel.

[image: image67.jpg]


Joists

Like Room 001, the floor has been removed, but the joist stubs remain. They are 7’-3½” above the first floor.  size
Room 003-Modern low-shed addition

Floors

There is porch board floor that have boards that are 2.5” wide. This floor is three steps down from room 002. 

Walls

Walls are covered in modern sheetrock.

Ceiling

There is a finished ceiling measuring 7’1” from the floor to ceiling.     

Doors
A single door connects to room 002 and is described with 002 doors.

[image: image68.jpg]


Windows

1 modern double-hung 6-over-6 window with a 6” frame and screen attached on exterior

Room 004: Front addition aka “washroom”

Walls

The east wall is the original exterior weatherboard of the original kitchen. The north wall has collapsed and is open to the elements. The south and east wall were dimentional lumber construction with vertical wood siding. 

Ceiling

No finished ceiling, exposed roof structure. Roof constructed with nailed rafters and boards.

Doors

One board-and-batten door measures 2’ 6” x 6’4”.

Windows
[image: image69.jpg]



One window used to be an exterior window for room 001, and is on the eastern wall of the room, it is boarded up, but measures 2’2” across and 2’ 1” high

 A second window is on the west wall facing the house and is an exterior window. It measures 1’ 9” across and 2’10” high. There is a wire mesh fastened to the interior wooden frame. 

Old Chicken House

Foundation 

The foundation consists of quarried pieces of stone from the property that look like those in the other first period buildings. They measure The foundation on the east and south is deteriorated and most of the stones are missing. Grade
Exterior Walls 

All of the walls are vertical wooden planks of wire nail construction

Wooden Siding

Wooden weatherboards……….
Trim

Windows 

There is one window above the doorway that is boarded-up. Size
Door

The one door is on the west elevation centered on that wall. It is 3’-8” x 5’-9” and made of three vertical boards with three battens. Two of the boards are 1’-11” wide and one is 8.75” wide. Iron L hinges……….
Hardware

Stairs 

Stone path…….
Roof

Smokehouse

History

The present owner of Hill’s Creek Farm stated that the previous farmer had raised hogs.  He butchered, smoked, and sold the meat, as well as feeding his large family and numerous farm workers.  The sizeable dimensions of this smokehouse may suggest that it was intended for more than just family use.  There is a three-foot diameter metal barrel in the southwest corner of the building that according to the present owner was the container for the fire.  The barrel would have been set on the dirt floor in the center of the building.  Smokehouses were used not only to smoke meats, but also for storage of meats.  The close-studded construction of this smokehouse and sizeable lock on the door hint at the security measures that were taken to ensure the building’s valuable contents were not stolen.  Prior to refrigeration, meat was preserved primarily by smoking, salting, or pickling.
Exterior Description

The smokehouse is a one-story, timber-frame building with overall dimensions of sixteen feet wide by twelve feet deep.  The smokehouse is clad in lapped, pine weatherboards. The only means of access is a centrally located door on the north elevation.  The gable roof extends approximately one foot beyond the walls on all four sides.  The smokehouse is oriented towards the large house and other log and frame outbuildings and dwellings, with the exception of the log barn.  The roof is covered with a standing seam metal roof at the present time, supported by the timber frame structural system present in the building.  

North Elevation

The north elevation is distinguished by its centrally-located door.  The wall surface is covered with weatherboards with a 4 ½ inch exposed surface and are ¾ inch thick.  The weatherboards are attached directly to the framing with exposed 3 ½ inch machine-made cut nails with square heads.  This treatment is repeated on all sides.  At the corners on the north elevation, a vertical board was nailed to the corner posts that extended from the sill to the plate.  

Foundation

The smokehouse is built into an embankment.  The stone foundation begins just to the east of the east door jamb and continues around the building, with the tallest section of foundation on the south elevation.  To the west of the door jamb, there appears to be no foundation or possibly only a single, shallow course of stone.  The sill does not span the entire north wall; it stops four inches west of the west door jamb, where a second sill attaches with a lap joint.  The sill is approximately 8 ¼ by 8 ¼ inches square.  

Windows/Doors

There are no windows. The board-and-batten door, measuring three feet one inch wide, is constructed of three vertical pine boards, held together by three horizontal battens on the interior.  The battens are attached by wrought nails that were hammered through the vertical boards into the batten, then the protruding end was hammered over to clinch the nail.  The door frame is formed by the sill and vertical framing studs.  The door is trimmed with a plain cyma-shaped molding attached with t-head cut nails.  There is a wrought iron hasp attached by an iron staple to the front of the door, which could be placed over an iron loop on the west door jamb and secured with a lock.  The door is attached with cast iron butt hinges.  

Walls

The lapped weatherboards have an exposure of 5 ½ inches.  The wall west of the door is missing several rows of weatherboards, exposing the timber framing.  There are two down-braces extending from each corner post, which are tenoned into a mortise in the sill and are secured by a peg.  The corner posts also tenoned into a mortise in the sill and are pegged.  The vertical studs tenon into the sills but are not pegged.  The weatherboards butt against a vertical corner board at each end of the elevation.  

East Elevation

The east elevation is composed of horizontally-oriented, lapped weatherboards.  

Foundation

The foundation is composed of large stones laid in rough courses.  Several different types of a cement-based mortar had been thickly and unevenly applied to the joints in some areas.  A lime-based mortar was not found, raising the possibility of whether the foundation had been rebuilt or was originally dry-laid.  

Walls

The exterior wall of the east elevation is composed of  lapped weatherboards attached to the timber framing.  The gable end of the pitched roof projects approximately one foot beyond the wall.  The bottom rows of weatherboards are missing, which has exposed the sill to the elements.  At the northeast corner, a vertical corner board measuring 5 ¾” wide by 1” thick was attached with wire nails vertically to the side of the corner board on the north wall.  The weatherboard now extends in front of this corner board.  The use of the modern wire nails to attach the cornerboard and the nail evidence that shows the weatherboard once attached directly to the corner post indicate that this cornerboard is a later modification.   

Doors/windows

There are no doors or windows on this elevation.

South Elevation

Foundation

The foundation is composed of large, gray and pinkish stones laid in rough courses.  Several different types of cement-based mortar are evident; no lime-based mortar was observed.  The foundation wall on this elevation was approximately 4’high.  Some of the exposed surfaces of the stone are in deteriorated condition and flake off to the touch.  

Walls

The exterior wall of the south elevation is composed of weatherboards attached to the timber framing.  The pitched roof projects approximately one foot beyond the wall.  The bottom rows of weatherboards are missing, which has led the sill to become greatly deteriorated.  Nailing evidence indicates that two rows of weatherboards originally covered the sill.  The southeast corner post has remnants of its vertical corner board that measure 2 ½”by 1” thick.  Extensive insect damage to the corner post has occurred.  A large vine has grown up the southeast corner of the building, with many of the vines getting behind the weatherboards and lifting them away from the building.

Doors/windows

There are no doors or windows on this elevation.

West Elevation

Foundation

The foundation is composed of large stones laid in rough courses.  Several different types of cement-based mortar are evident; no lime-based mortar was observed.  The foundation wall on this elevation was approximately 4’ high in the southwest corner, diminishing to a single course of stones to the northwest corner.    

Walls

The exterior wall of the west elevation is composed of  lapped weatherboards attached to the timber framing.  The pitched roof projects approximately one foot beyond the wall.  The weatherboards are fully intact and extend down over the sill, with the northern ends trimmed to fit against the sloping embankment.  The northwest corner has a vertical corner board measuring 2 ½” by 1 ¼” thick that is nailed vertically to the corner post.  The weatherboards butt against the vertical corner board.  The west gable is covered in horizontal weatherboard.  Two diagonal boards run under the roofline, covering the ends of the weatherboard.  These boards are butted against each other with a mitered joint at the top. 

Doors/windows

There are no doors or windows on this elevation.

Interior Description

Room 100

Room 100 is a wide, rectangular room that runs the full size of the building.  It measures 12 feet 1 ½” N-S and 16 feet 1 1/3”  E-W.  The only access to the interior of the building is through the centrally-located door on the north wall.  In the southeast corner of the room is a large box constructed of random-width, circular sawn pine boards measuring 5 feet 9 ¼ inches deep by 4 feet 3 inches wide by 2 feet 11 inches high. Thickness? The present owner said that this box contained the salt used in meat preservation and curing.  

Floor

Upon crossing the threshold of the door into the smokehouse, one steps over the north sill and onto a dirt floor formed by the sloping embankment.  The flooring system extended around the east, west, and south walls of the smokehouse.  Although it is possible that the original flooring system extended to the door, this would appear unlikely because the smokehouse was used for smoking meats by means of a large metal burning barrel that according to the owner was placed in the center of the building on the dirt floor.  The floor is constructed of random-width pine planks that rest on the sills and a joist and are not secured.  To the west of the door, the floor runs N-S and consists of three large planks that span from sill-to-sill with no structural support.  To the east of the door, the floor runs E-W, consisting of a series of wide planks that span from the east sill to a hewn joist running N-S immediately east of the door.  

Walls

The wall structure consists of the timber frame elements that compose the entire building.  No interior finishes were undertaken.  The interior is blackened, presumably from the building’s use as a smokehouse.  The vertical studs were closely spaced, approximately every five to ten inches, to prevent unwanted access to the valuable provisions within the smokehouse.  

Framing

The building has a lower and upper level of overhead joists that run N-S.  The lower level of joists are 6 feet, 9 ¼ inches above the sill, while the upper level are nine feet 2 inches above the sill.  Several of these joists have a sizeable quantity of nails protruding approximately three-to-five inches from them, presumably for hanging meats to be smoked.  

Hardware

The door was secured by means of a large iron rim lock, measuring 1 foot 2 inches wide by 7 ½ inches high by 1 ½ inches thick.  The lock was attached from the outside with four large wrought nails, one in each corner.  The door had two keyholes in it, suggesting that this lock may not be original or that it was moved several inches.  

To the west of the door jamb, located at about the mid-section of the door, was a curved, C-shaped wooden element attached to the door frame with large, wrought iron nails.  This piece was approximately one foot high, four inches deep overall, and three inches wide with roughly chamfered edges.  Although this feature appeared to relate to a previous security/locking device, we were unable to determine its exact function.  Its placement on the interior of the building was unusual for a smokehouse that would presumably have been locked only from the outside.

Roof

The principal structural system supporting the roof is a common rafter system, consisting of seven pairs of rafters.  On each gable end wall, there are two pairs of rafters spaced approximately one foot apart.  The outermost pair of rafters forms the projecting gable end of the roof.  Each pair of rafters is secured by an upper and lower collar tie, which are inset into the rafters.  Each rafter intersects the plate.  There is no ridge board.  The rafters intersect at the top and are secured by a wooden peg.

Outriggers

Cornice outriggers are tenoned through the perimeter plates on the north and south walls.  On the exterior, a horizontal board is attached to the outriggers and asphalt shingle material nailed onto this board. 

[image: image78.jpg]



Smokehouse

[image: image2.jpg]



  
            Smokehouse Stone Foundation

[image: image70.jpg]


[image: image71.jpg]


[image: image72.jpg]


[image: image3.jpg]



[image: image4.jpg]D m,

s S
1D ot W DT I b iig—.





                   Rim Iron Door Lock

[image: image5.jpg]



              Smokehouse framing

Chicken Coop 

(Original Milk House)

Foundation 

Stones quarried from the property, near Hills Creek

Exterior Walls 

All of the walls are vertical wooden planks of wire nail construction

Wooden Siding

Circular sawn 1” x 8” to 1” x 10” vertical with 1” x 3” battens 

Trim

See “Windows” 

Windows 

North Face: Tubing surrounding the window frame (1”) with thin metal picket inside

East Face: Modern aluminum frame window screen 

West Face: Nailed over the window trim with screen ½” 1 ½”, oversized screen followed by 2 metal grills from either a refrigerator or oven 

Doors 

See “Doors” for “Interior”
Hardware

Modern bolt above door handle and 2 extra small hinges found on the left of the main door 

Stairs 

2 large stones, the left sides of which align (see sketch for dimensions)

Roof

Sloped metal roof of 26” metal panels. 2” x 4” to 2” x 4 ¼” rafters spaced 22” to 24”

Interior

Floors

Thin layer of concrete

Stair

(see sketch for dimensions)

Walls

White painted horizontal boards 1” x 7” to 1” x 7 ¼” tongue and groove

Ceiling

White painted boards running north to south, measuring the same as the wall boards

Doors

4 vertical boards- from left (by hinges) to right- 1” x 10 ¾”, 1” x 9 ¾”, 1” x 6 ½”, 1” x 5 ½”. Battens at top and bottom of door measure 1” x 10 ¼” x 2’7 ¾”.

Windows

(all hinges are similar to the door, but smaller)

North Face: Frame of a 6-light sash, similar to east window- double-hinged at the top

 East Face: 6 equal panes, each 7 ¾” x 9 ¾” with ½” trim- double-hinged on the right

West Face: 4 lights over 4, 7 5/8” x 10”- double sash

Hardware

Rim lock installed upside-down, one at the top and bottom of the door

Wooden Shelves

1) Between the wall and the window on the north face, supported by molding 4’10” high

2) To the right of the window, approximately 16” at a height of 4’

Partition (ghost)

Evidence of a partition exists 5’ 5” south of the north wall.  A nailed strip remains on the west wall.  Ghost of two hinges that would swing south to north

Electrical

Runs along the ceiling (paralleling the partition), then on the west wall and out of a small hole in the south wall

Elevated Floor

Poured concrete ledge supporting random widths of floor planking

Roost

3- 1” x 5 ¾” diagonal notched pine boards supporting 4 wooden poles running east to west

Hole

There is a hole that pierces through the structure near where the north and east walls meet.  It is a circular hole from the inside and more irregular looking from the outside

Gas House

(Originally Milk House)

Overall Description

The Gas House is one of the outbuildings on Hills Creek Farm. The northeast corner of the building is 21’9” from the building; the southeast corner is 37’.

The Gas House was originally used to provide heat for the main house. A pipe ran from the Gas House to the main house. All that remains are sections of the pipe attached to the north elevation of the structure and portion of the pit; it is no longer connected to any machinery.  

The small Gas House represents an innovation of the times. The pit was filled with crystals (MATERIAL?). Then water was added and the pit was covered. The chemical reaction between these ingredients emitted a gas, which was piped to the house, heating the building. 

East Elevation

Foundation

The east elevation has a concrete foundation under half of the structure.

Siding

The northern end of the elevation has clapboards that have a 6.5” exposure and are a half-inch thick. The clapboard is deteriorating especially below the window. There is no evidence of paint on the clapboard. 

Machine made nails from circa 1900 where found through out the siding. Two small nails were collected. 

Windows

The northern end has one window, 2’3” by 2’2” with evidence of a metal overhang nailed above. There is no window sash. 

A cut nail, circa 1890, was found in the window trim above this window. 

Doors

There is no wall or door on the southern end of the elevation. There is no physical evidence that the open section was ever enclosed. 

Roof

The roof structure is visible through the open portion of the elevation. The roof structure is wood and the covering is standing seam metal. 

[image: image6.jpg]



South Elevation

Foundation

The south elevation has been elevated due to the enormous roots of a nearby tree growing underneath the west end of the structure. A pile of stones, of varying sizes, lie to the side of the south elevation. These were possibly part of the original foundation. The current foundation is made of concrete, and seems to have replaced an earlier stone one as a remedy to the roots shifting the position of the Gas House.     

Siding

Unlike the other elevations, the wood clapboards of the south elevation are placed vertically. The boards do not overlap and 6.75” wide and a 0.5”, similar to siding on the other elevations. The siding is badly deteriorated at the bottom. There is no evidence of paint on the clapboard. 

Windows

There are no windows on this elevation.

Doors
There are no windows on this elevation. 

Roof

This elevation shows the slant of the shed roof. 

[image: image7.jpg]



West Elevation

Foundation

Along the bottom edge of the west elevation is a concrete foundation, which has crumbled in the area around the vertical seam. A stone foundation is visible behind the damaged concrete.

Siding

The siding is horizontal clapboard, divided by a seam making a clear definition between the two rooms. The siding is also has a 6.5” exposure and a 0.75” thickness. Along the southwest corner the siding is badly deteriorated and missing four or more boards. There is no evidence of paint on the clapboard. 

Windows

There is one window opening with no sash. There is a flat metal piece covering nailed to the top of the opening. The window does not line up across from the window on the east elevation. 

Doors

There are no doors on this elevation. 

Roof

The roof rafters are visible along the soffit. This elevation has the lower end of the shed roof. The upper portion of the southwest corner is deteriorated and missing.  

[image: image8.jpg]



North Elevation

Foundation
There is no evidence of a concrete or stone foundation. 

Siding

There are wood clapboards on this elevation with some remnants of whitewash. This elevation is missing nearly half of the siding at the top and the northwest bottom corner. Many of the clapboards are a single piece of wood. There are what appear to be a few patches. The interior studs are visible due to the missing siding. 

This elevation also has the gas pipe on the exterior. The pipe is 2.2” around. There is 5’8” of the pipe remaining. 

Windows

There are no windows on this elevation.

Doors

There are no doors on this elevation. 

Roof

The roof line measures 11’2.5” from the front to the rear. The height at the front of the wall is 7’11”; the middle is 6’9.5”; and the back is 5’7”.  (pitch?)

[image: image9.jpg]



Room 001

Room 001 has no door or wall at the east elevation; it is open to the elements. Access to the gas pit is through this room only. The opening of this room is 8’2” wide.

Floor 

The room has a dirt floor and a tree stump or roots in the middle of the room. There is no evidence of any flooring having existed previously.

Walls

There are no finished walls in this room. There are three walls in the room with exposed studs measuring 4.5” by 2” and 5’11.5” in height. 

Ceiling

The ceiling is unfinished. 

Doors
There is one door that leads from this room into the enclosed room (Room 002). The door opens out into Room 001. The door is 2’6” by 5’11.5” and is made of three vertical boards. The boards are of various widths; from left to right they measure 1’0.25”, 7.75” and 8.75”. There is a small wood block nailed into the frame that can be turned to “lock” the door. The door is hinged at two places with two strip hinges at the horizontal cross boards. 

[image: image10.jpg]o

Wy

3 N - o
3 el R - -~
. =
v il
* —_— o .M .
g - =
S @ s <2
- ™ ol
o - - k - .
- - -~





Door with strap hinge

Windows

There are no windows in this room. 

Other

There is an electrical box on the western wall with a conduct running out of it. There were also rusted nuts and bolts and an old spoon found tucked between the siding and the studs. 

[image: image11.jpg]I, e et

gl




Spoon and Electrical conduit on western wall

Room 002

The enclosed room in the gas house has the gas pit and two windows. 

Floor

The floor is dirt and is also covered with various debris including spare pieces of brick-tex from the main house. There is no evidence of there being any type of flooring. 

The gas pit is directly below the door when entering into the room. It is approximately 4’ 5.25” across (north-south) and 4’ 11” (east-west). The pit is brick and concrete block and is pulling away from the interior wall. Concrete has been poured around the top, perhaps to help stabilize it. The depth of the pit on each side varies between 1’2” and 1’7”. The pit has been filled with dirt and trash. 

[image: image12.jpg]



Gas Pit

Walls 

The east and west wall of the enclosed room have been covered in some sort of particle board or cement board. The other walls are unfinished. 

[image: image13.jpg]¢
1Y




Western interior wall in Room 002

Ceiling

The ceiling is also unfinished. 

Windows

The room has two windows; one of the west wall and one on the east. The west wall window is 2’7.5” by 1’9.25”. There is no sash with in the opening. The east wall window is 1’11.5” by 1’10”, also with no sash. The windows do not line up with each other. 

Doors

There is one door leading into the room, as described in Room 001. 

Architectural Investigation of Log Cabin at Hills Creek Farm

Exterior Description

North Elevation:

[image: image14.jpg]Gl i BT s
YU 0 ISR S Wi

’





This elevation represents the rear of the structure and comprises, along with the south elevation, the long access of the building. The log wall is supported by a fieldstone foundation built into a gentle slope. The northeast corner of the foundation rises 46” above grade while the northwest  corner rises only 4” above grade. The wall contains two small window openings, one for each of the ground level rooms, and a four foot wide opening from sill to eave for accessing a 4’ x 5’9” area for storage. The metal roof is made up of 2’ wide sheet roofing laid vertically from ridge to eave. The corners of the log walls utilize v-notch construction.

South Elevation:

[image: image15.jpg]Py
—

. - ﬁfl
L RF C 0 ——"

S

e g

i

;h





The south elevation represents the front of the structure. It includes the entrance doorways for each of the two ground level rooms, with a porch in front of the east room. A third doorway accesses a 4’ x 5’9” storage area. The metal roof is made up of 2’ wide sheets laid vertically from ridge to eave. The porch floor has collapsed and appears to have been constructed of 1” x 8” boards, probably oak. The porch has a shed roof, made up of 1” x 6” planks covered with the same 2’ wide metal sheet roofing as the cabin.

East Elevation:

[image: image16.jpg]



 The east elevation is a gable end along the short axis of the building. Originally, there was only one opening – a small window opening on the upper level at the top of the interior stairway. At a later time, a small exterior doorway was cut through the log wall under the stairway. No porch or exterior stairs exist for this opening, which is approximately four feet above grade. The gable end is sheathed with 5” clapboard above the log wall, which was constructed using squared logs 8” to 10” thick. There is no glass or shutter in the window opening.

West Elevation:

[image: image17.jpg]



This elevation is the other gable end. There is one small window opening on the upper level at the top of the interior stairway. The gable end is sheathed with 5” clapboard above the log wall, which is constructed of squared logs 8” to 10” thick. The fieldstone foundation rises 4” above grade at the northwest corner, but does not clear grade at the southwest corner.

Interior Description

Room 100 

Room 101 (West Room)

Dimensions: 
16’-0” x 16’-5 ½” 

Floor:

Bare earth – no visible signs of a former planked floor

Base:

None

Walls:

Log construction

Cornice:
None

Ceiling:
None – floor of second level has been removed leaving open joists

Doors:

One door, located in the south wall (34” W x 68” H) and of board-and-batten 



construction

Trim:

None

Windows:
One window in the north wall (24” x 24”, with the bottom edge 46 inches above 



floor level). No glass or shutter exists, although there are window or shutter slides 



above and below the opening (see diagram) 

Fireplace:
Block stone fireplace located in east wall. Shares chimney with fireplace in room 



102. Type of stone not determined. Outside width is 5’- 9 ½ “. Inside width is 3’-



8” and the firebox depth is 1’-2”

Stairs:

Open stairway consisting of 7 treads including the top. Each tread is 11 1/2 “ 



and each riser is 11 1/2 “. The lowest riser is 11”from the south wall. Wood

species is indeterminate, probably oak.

Room 102 (East Room)

Dimensions: 
16’-1 ½” x 15’-11” 

Floor:

Consists of floor boards 3 ½ inches in width. Could not gain access to see under 



the floor boards to determine the support structure or verify if boards were of 



tongue-and-groove construction. Due to dirt and debris covering the floor, the 



species of wood was indeterminate. 

Base:

None

Walls:

Log construction (8” to 10 “ in diameter)

Cornice:
None

Ceiling:
None – floor of second level has been removed leaving open joists

Doors:

Two doors exist in this room: a 36” W x 87” H 5-panel door in the south wall and 



a smaller 24” W x 58” H board-and-batten door in the east wall under the 



staircase. The doorway in the east wall appears to have been cut much later after 



the log 
walls were constructed. One of the logs in the lower north wall at the 



corner with the east wall has shifted outwards several inches but the corner join 



remains intact. Since the end of the log at the doorway lines up with the remainder 



of the door opening, the doorway must have been cut after the log had shifted.

Trim:

The window and door in the south wall is trimmed using 1” x 8” boards. 



Otherwise, there is no trim in this room

Windows:
Two windows exist in this room. The first is in the south wall, a double sash 



window (25” W x 56” H with bottom edge 2 feet above floor level), 4 panes over 



4 panes, although the lower sash is missing and the glass in the upper sash is 



broken. The second window is in the north wall (24” x 24”, with the bottom edge 



46 inches above floor level). No glass or shutter exists, although there are window 



or shutter slides above and below the opening (see diagram) 

Fireplace:
Block stone fireplace located in west wall. Shares chimney with fireplace in room 



101. Type of stone not determined. Outside width is 5’-11”. Inside width is 



approximately 3’-2”. The opening is sealed so it is difficult to obtain an exact 



measurement. There is a 6” round hole in the covering for a stovepipe.

Stairs:

Enclosed stairway consisting of 8 treads including the top. Each tread is 11 1/2 “ 



and each riser is 11 1/2 “. The lowest tread abuts the south wall. Wood species is 



indeterminate, but is probably oak.

Room 103 (South Storage Room)

Dimensions: 
5’-9 ½” x 4’-0” 

Floor:

Floor has collapsed. Remnants indicate that the floor was once constructed of one

inch dimensional lumber of varying widths

Base:

None

Walls:

Side walls are of log construction. Back wall is stone, as the storage area abuts the

south side of the two fireplaces

Cornice:
None

Ceiling:
Construction is of one inch dimensional lumber, 12 inches in width, supported by

exposed log joists approximately 6 inches in diameter running east-west across

the short dimension of the room

Doors:

None exists at the present – the room is open across the four foot width at the

exterior wall. There is no evidence that a door casing existed. It is a possibility that a shed type door existed at one point, but no hardware was found to support that assumption. 

Trim:

None

Windows:
None

Fireplace:
None

Hardware:
None found

Room 104 (North Storage Room)

Dimensions: 
5’-9” x 4’-0 ¾” 

Floor:

Floor has collapsed. Remnants indicate that the floor was once constructed of one

inch dimensional lumber of varying widths

Base:

None

Walls:

Side walls are of log construction. Back wall is stone, as the storage area abuts the

south side of the two fireplaces

Cornice:
None

Ceiling:
Construction is of one inch dimensional lumber, 12 inches in width, supported by

exposed log joists approximately 6 inches in diameter running east-west across

the short dimension of the room

Doors:

None exists at the present – the room is open across the four foot width at the

exterior wall. There is no evidence that a door casing existed. It is a possibility that a shed type door existed at one point, but no hardware was found to support that assumption. 

Trim:

None

Windows:
None

Fireplace:
None

Hardware:
None found

Room 201 (West Room)

Dimensions: 
16’-0” x 16’-5 ½” (estimated)

Floor: 

None – floor has been removed leaving open joists, which are 8”-10” in diameter

and squared off at each end to fit slots in the north and south log walls

Base: 

None

Walls: 
Log construction knee wall runs 30 inches above the top of the exposed floor

joists, supporting the roof

Cornice: 
None

Ceiling: 
Ceiling consists of the exposed roof components

Doors: 
One 37” door of board-and-batten construction at the head of the stairs up from

the lower level

Trim:

No real trim to speak of

Windows:
One window opening (19” W x 25” H) is centered in the end gable. The bottom of

the window begins 27” above the level of the floor joists. No glass or shutter exists.

Fireplace: 
None

Room 202 (East Room)

Dimensions: 
16’-1 ½” x 15’-11” (estimated)

Floor: 

None – floor has been removed leaving open joists

Base: 

None

Walls: 
Log construction knee wall runs 30 inches above the top of the exposed floor

joists, supporting the roof

Cornice: 
None

Ceiling: 
The ceiling consists of log rafters, approximately 6” in diameter, with 1” 



sheathing measuring between 10” and 20” in width. Two sets of collar ties exist;

one at 6’ 11” above the level of the floor joists and the other at 11’ 8”above the

level of the floor joists. 

Doors: 
None

Trim:

None

Windows: 
One window opening (19” W x 25” H) is located in the end gable. The bottom of

the window begins at 27” above the level of the floor joists. No glass or shutter exists.

Fireplace: 
None

Room 203 (East Room Closet)

Dimensions: 
5’-9” x 4’-0 ¾” (estimated) 

Floor: 

Construction is of one inch dimensional lumber, 12 inches in width, supported by

exposed log joists approximately 6 inches in diameter running east-west across

the short dimension of the room

Base: 

Unknown

Walls: 
North wall consists of the roof while the south wall consists of the stone chimney.

The east and west walls are made up of 1” x 8” and 1” x 12” boards nailed to the

rafters and to vertical wood supports next to the chimney.   

Cornice: 
None

Ceiling: 
The ceiling consists of log rafters, approximately 6” in diameter, with 1” 



sheathing measuring between 10” and 20” in width

Doors: 
One crude doorway opening from east room, but no door or door frame

Trim:

None

Windows: 
None

Fireplace: 
None

Hardware: 
None

[image: image73.jpg]


[image: image74.jpg]



Photo 5: Detail of corner joinery



Photo 6: Board and batten door in 









south wall for ground level west 









room

Photo 7: Detail of nail pattern in board-and-batten door

Photo 8: West stairway

Photo 9: Detail of chimney








Photo 10: Fireplace in ground level west 








room[image: image75.jpg]A e

o' . :
e B -

W R Ay Sl

el g e i s R

.. a .ﬂ’ v J \
LA o ’)’v = R R .
LA




[image: image76.jpg]


[image: image77.jpg]





Photo 11: North storage space


Photo 12: South storage space

Exterior Main House

South Exterior

Elevation

Two-story with walk-in basement

Foundation 

There is a stone foundation with large stones and then covered with a cement layer.

Brick Size

The bricks are 4” X 8”

Brick Other

There are 12 X 12 piers supporting deck (3) all 4’5” tall. They are in the basement walk-in area.

Wooden Siding

The siding is an asphalt siding that is faux brick, a gray color.

Trim

There is recessed trim that measures 2 X 4 around windows and doors.

Windows
On the first floor there is one four over four double hung sash windows that measures 11 ¾” X 9 ½”. On the basement level there are two fixed square and two 6-panel fixed windows with bead board wooden shutters with string hinges that measure 7 ¾” X 10”.

The rest of the façade has eight 6 over 6 double hung sash windows. 

Doors
All the storm doors are modern

The basement level has two doors, the more eastern door is has two equal parts with vertical paneling. The storm door is aluminum with a two sections of screen. The second door is a two equal parts the bottom being vertical paneling and the top being 6 pane fixed window. The storm door is aluminum with two sections of screen. 

The first floor level off of the porch has three doors. The more eastern door that enters an addition has 5 recessed panel door with no storm door. The door in the middle has four recessed panels on the top and two on the bottom and was installed upside down. This door has an aluminum storm door with a screen section and window section on top. The most western door a standard 6 panel door and it was retrofitted with the windows. This storm door has an aluminum storm door with two sections of screen.

Hardware

All the doors have doorknobs. The plates are 7” X 2 ¼” 

Porch

The width of the porch measures 7’10 ½”.  The decking is comprised of 2 sections: one is 2’ ¼” blind nailed, unfinished tongue and groove and the second is ¾” X 5½’ slats with nails placed in a random order. The entire floor is laid from north to south (see sketch “Porch” for the layout)

Portico

The railing is 2’6 ¾” high (see sketch “Portico” for detailed dimensions)

Stairs

The west stair is made of the same stones as the foundation.  The average stone measures 3’10” x 16 ½” x 7”.  The stone staircase is comprised of 5 steps.  The east stair is concrete, a later addition.  Comprised of 7 steps, the size of each is 5’8” x 9 ½” x 7 ½”
Stair Balustrade
The west stair has no rail, but the east staircase has a pipe railing located on the left side of the stair

Columns

The columns are 4 ½” X 4 ½” posts on 7’11½” center. There are four total columns. Each column contains additional slots, indicative of a previous rail.  The 2- 3 ½” slots stand 6 ½” and 18” off of the deck floor.  Each board, 3 ¾” wide, containing the slots is nailed to the columns (see sketch “Portico”) 

Chimneys

There are two chimneys seen from the south side. The eastern chimney has missing bricks and is deteriorating. The western chimney is intact with no visible missing pieces, and this chimney is narrower than the eastern chimney. There is a also a more red brick used than on the other chimney, which is browner. 

Roof Shape and Covering

Sloped roof of porch bolted to house, there are varying sizes ranging from 2’ X 4’ and 2’ X 10’ There is a red metal roof, crimped at the edges. There are 19 rafters 2’ apart across the façade. 

Exterior Description

[image: image18.jpg]



East Elevation

The east elevation of the building includes a single pier of three centrally-located windows, stemming from cellar to second floor.  At the south end of the east elevation, a set of stone steps provides access to the cellar underneath a projecting addition that is supported by brick piers.  

Foundation

The foundation is composed of large, dressed, rectilinear stones laid in courses.  Large rectangular quoins are at the corners.  The mortar in the foundation has a raised/pointed seam.  There is evidence of whitewash on the stones.

[image: image19.jpg]



Windows/Doors

There are no doors on this elevation.  The cellar window is horizontally-oriented, with the left sash consisting of two over three panes and the right sash of three-over-three panes.  The sill is made of stone.  The window on the first floor level has had the sash replaced with plywood.  The window on the second floor, which is the same size and trim as the first floor window, consists of six over six panes of glass.  The trim is a plain, unornamented flat board and a wooden sill that are all painted white.  All three windows have had storm windows added.  

Walls

The entire east elevation is covered with a composite-type material that is likely mid-twentieth century.  The siding is attached with modern wire nails, directly over the earlier wooden weatherboard that was previously exposed.  This sheathing came in 43 1/4” by 13 3/4” inch panels and has an imitation masonry design impressed into it.  The panels were laid so that the design repeat aligned correctly horizontally, but not vertically.  

[image: image20.jpg]



Trim

The shed roof over the projecting addition and the gable roof have simple decorative brackets that are painted white and match those that continue around the entire house.

[image: image21.jpg]



North Elevation of Main House

General


The north elevation of the main house serves as the front. The house is two stories with a one-story porch. The original siding is wood weatherboard, though it has been covered with dark gray brick-tex. The foundation is cut stone of various sizes but has been painted dark red. 

[image: image22.jpg]



North elevation

Basement

The basement is visible on either side of the porch. It is made of cut stone that has been painted dark red.  It measures 2’11” in height on each side. The eastern side has one window that is 3’11” wide and 2’ in height. It is 2’2” from the corner of the house and 2’ from the edge of the porch. The window has a stone (granite?) sill and appears to be two window sashes of different sizes (six lites and four lites) put into the opening. There is a metal storm window covering. 

[image: image23.jpg]



Window ####


The western side has two window openings covered with tongue-and-groove wood with exterior hinges. Windows # 2’7” wide and 1’11” height and is against the porch foundation. Window # is slightly larger at 2’8” by 1’11” in height. The windows are difficult to access because of metal sections of farm fencing against the house. 

Porch

The porch is three bays and has a concrete foundation, perhaps poured over a stone foundation. The eastern end of the porch begins over window #. There are four stone steps leading up to the porch. A section of the concrete is missing at the top of these steps. 

The western end of the porch ends above door #. There are three steps leading to the porch with a fourth step at grade. 

The porch foundation is concrete, perhaps covering an earlier stone foundation. There are two damaged portions of the porch “floor”; one at the top of the eastern steps and the other at the middle of the porch. 

[image: image24.jpg]



Stone foundation exposed at eastern side of porch. 

The grade is higher between the steps at fourteen inches, compared to thirty-five inches at the ends of the porch. The concrete at the porch floor appears to have been rolled with something leaving small evenly spaced square impressions. 

The porch floor was covered with wooden pallets and other farm tools, making complete access difficult. 

The stone steps at the front porch vary between ten and eighteen inches. The porch extends eight feet six inches from the front of the house and is FEET long. There are five columns, all five and half inches square, spaced approximately nine feet apart (please see drawing for more detail). 

The roof of the porch is a shed roof tying into the house at the second story. The covering is standing seam metal. 

First Floor


The first floor has three six-over-six double hung wood windows, all of which are covered by aluminum storm windows. The two entry doors are wood with aluminum storm doors. Door 105-1 is a six-panel door. Door 100-1 has three horizontal panels with four vertical lights. 

[image: image25.jpg]


                         [image: image26.jpg]



                       Eastern entry door                                                                   Western entry door


All windows and doors on the first level have flat one inch by four and a half inch trim. 

Second Floor


The second level has four six-over-six wood double hung windows, also with aluminum storm windows. These windows line up with the windows and doors directly below them. (The eastern door does not have a window above.)

Roof and Chimneys

The house has a side-facing gable. The main roof has been covered with black asphalt shingles. There are two chimneys, one at the western end and one in the middle (?) Both chimneys are brick, laid in running bond and painted red. 

Interior Main House

First Floor

Room 100

The main entrance to the home has a staircase and four doors leading to the exterior of the house and the rooms on the first floor and basement. 

Floors

The wooden floorboards are laid from east to west. They are 2 1/2” wide and appear to be in good condition. The floor is painted gray.

Base

The baseboards are simple and were placed around the room. They rise 7” above the floor.

Walls
The walls have been covered in panels of drywall, with the seams still visible. They have been painted white. There is a strip of molding on the NE corner of the room, between the entrance to the house and room 001. There is no evidence of molding on the other walls of this room. The north, east, and south walls are 9’4” high. The width of the north wall is 7’3”; the width of the east wall is 15’3” wide; and the south wall is 7’2” wide.

Doors

The doors in the entrance hall are all different. Although they are all made of wood and have panels, two of the four doors are half-glass doors. The front door measures 2’10” by 6”10”. The top half of the door contains four vertical panes of glass, and the bottom half three horizontal raised panels. The front door has not been painted white. It has been stained a dark brown. The door to room 001 has three panels on both the bottom and top half of the door (3’11 1/2” by 7’3/4”) and is white. The back door (3’3” by 6’71/2”) like the front is a half-glass door. It has four, square panes of glass on the top half and two panels at the bottom. The basement door (2’71/2” by 6’71/2”) is a wood five-panel door. The panels are horizontal and raised. Neither of these doors is missing any hardware.

Stairs
Shape

To the left of the entrance is a straight, vertical staircase. It rises alongside the NW wall.

Materials

The stairs are made of wood and are covered in red carpet.

Newel
The newel is made of wood and has panels on three sides and molding on the top and bottom. The main body of the newel is painted white. The newel cap is square with a round disc and is stained in dark brown.

Balustrade
The balustrade is simple and consists of square balusters painted white. There are 16 balusters (two rest on each stair).

Handrail
The rail square, but rounded on the top. The handrail is painted white except on top, where it has been stained a dark brown.

Treads
The treads are 9 1/2” deep, 7 1/2” high, and 38 ½” wide. The treads are carpeted.

Risers

The risers are simple and have nosing. A molding stretches along the bottom of the risers.

[image: image27.jpg]



[image: image28.jpg]



Room 101

Room 101 is located on the first floor of the west side of the house. It has two windows, north and south, and one doorway, located on the east. The dimensions are 18’-4 ½” x 14’-7”.

Walls

The walls are plyboard painted white. There are various holes indicative of either past decorative attachments or insect damage. There is a simple baseboard and picture railing about a foot from the ceiling.

Floor

The floor boards are 2-1/2” wide and painted gray.

Doors 

The six panel wood door has a knob and lock of ca. 1930s vintage.

Windows

The windows are six-over-six light sash measuring 2’-10” by 5’-1”. They are centered on the north and south walls.

Ceiling

The ceiling is 9’-4” high with a white painted finish. An electric bulb is attached next to a ghost of the previous gas lighting fixture.

Fireplace

The fireplace is boarded-up with batten boards. The mantel has columns and a scroll like design.

Room 102

Dimensions: 

Floor:


Base:

1” x 8” board with 1” quarter round molding along floor edge

Walls:

Original walls have been replaced with drywall. Seams are not taped and nail 



heads are exposed, but the drywall has been painted with one coat

Cornice:
None

Ceiling:
Original ceiling has been replaced with drywall. Seams are not taped and nail 



heads are exposed, but the drywall has been painted with one coat.

Doors:

Three doors exist in this room

Trim:

All original trim has been replaced with 1” x 8” board as baseboards and 1” 



quarter round molding along floor edge, and with 1” x 4 ½ “ boards around 



window frames and door frames. Corner joins and ceiling joins have 1” quarter 



round molding hiding the seams, apparently so the joins would not have to be 



taped and finished.

Windows:
Two windows: one each in north and south walls. Each window is 35” wide and 



62” high. Windows are double sash, 6 panes over 6 panes, each pane 10” W x 14” 



H.

Fireplace:
Located in east wall. Opening has been sealed with mortar and contains a 6” 



round hole for stovepipe. The firebox measures 46” in width. Depth not 



attainable. Mantle shelf 54” above the floor. Total height of mantle s 5’-5”.

Stairs:

None

Room 103

Dimensions: 

Floor:


Base:


Walls:


Cornice:
None

Ceiling:

Doors:


Trim:


Windows:
 None

Fireplace:
None

Stairs:

None

Room 104

Room 104 is a small hall located along the south side of the east section of the house.  It provides access between the center section (Room 102), the east section (room 105), and Room 107, the stairwell to the second floor (Room 107).

[image: image29.jpg]



Floors

The floors are laid east to west with wood flooring. The floors are painted with grey paint. 

Windows

Window 104-1 is present on the south wall. 

Doors

Door 104-3 is located on the north wall. The door connects the hall to room 105.

Room 105

Room 105 is located at the east end of the house.  In the twentieth century, this room was converted into a modern kitchen.  Cabinets and an electric stove are located in the northeast corner.  

Floors

The floor of Room 105 is covered in a modern wall-to-wall vinyl covering in an imitation stone pattern.  In areas where this has lifted up or torn, the wooden floor underneath can be seen.

[image: image30.jpg]



Base

A 7” tall flat board has been applied to the base of the wall. At the base of the board quarter round has been nailed.

Walls

The walls appear to be drywall over wall studs. The sheets are 4’ x 7’ and have been painted white.

Ceilings

The ceiling appears to be composed of the same material as the wall. The ceiling sheets are attached in the same manner as the walls.

Doors 

Door 105-1 is located in the north wall and provides access from the porch into the east end of the house.  

[image: image31.jpg]



Door 105-2 is located at the north end of the east wall of Room 105 and provides access to a closet, Room 103, that is between the chimney stack and the north wall.  The door is extremely tall although it is a normal width. 

[image: image32.jpg]



Door 105-3 is at the south end of Room 105 and provides access into Room 107, the hall that contains the stairs to the second floor.

Door 105-4 provides access into the bathroom, Room 106.

Windows

Window 105-1 is located in the north wall.

Window 105-2 is located in the east wall.  Although its presence is visible on the exterior, the interior wall has been covered and the present wall covering bears no signs of a window having been present at one time, suggesting that the wall covering went on over the window opening.

Fireplaces

Fireplace

The fireplace is located on the west wall of the room. The hearth has been filled in and the fire place has been covered over and what appears to be cement has been applied. The mantle has plain pilasters and 2 scrolled brackets which support a 1 3/4” mantle shelf. 

[image: image33.jpg]



Hardware

Butt hinges are present on the doors. Door 105-1 has a mortise lock. The window appears to have the original locking hardware. 

Room 106

Room 106 is a modern full bathroom that was constructed within Room 105.  

Floor

The floor is modern vinyl self adhesive tiles. They are black and green in color. 

Base

A 7” tall flat board has been applied to the base of the wall. At the base of the board quarter round has been nailed.

Walls

The walls appear to be constructed of modern drywall.

Doors

Door 106-1 provides access to a small closet under the stairs in Room 107 to the second floor.  On the inside of the door is a large, scrawling cursive pencil inscription that reads: Charlie/Charlie Edward Winston.”  Charlie Edward Winston was the last owner of the farmer, who sold it to the present owners.

[image: image34.jpg]



Room 107

Room 107 is the stairwell to the second floor at the east end of the house.

The enclosed winder stair is devoid of decorative treatments, suggesting a more private use than the main staircase in Room 100.  

8 stairs run along the south wall to a landing, then turn ninety degrees and there are 6stairs that run up along the east wall or the house 

[image: image35.jpg]R T T L e A






Second Floor

Rooms 200 and 201

Floors:


The floors in both rooms are wood strips, 2.5” wide. The floor in 200 has been painted gray, and is wearing off at the top of the steps. The floor in 201 has been painted brown. 

Walls:


Walls in both rooms are drywall. 

Cornice:


No cornice detail. There is one inch, quarter round trim around the ceiling and at the corners. This is typical of the house. 

Ceiling:


The ceiling in both rooms is drywall.

Doors:


There is a five-panel door between the two rooms, opening into room 201. 

[image: image36.jpg]



Windows:


There are two windows, W-201-1 and W-200-1. Both are six-over-six double hung wood windows. Their lights are 12” by 10”, slightly smaller than the windows on the first floor. 

Hardware and Fixtures:


Each of the rooms contains a gas pipe. Room 200 has a ceiling light fixture with a modern cover. Room 201 has a bare bulb in the ceiling. 

Stairs

Shape:


The stairs in Room 200 go directly down to the floor below. 

Materials:


The risers and treads appear to be wood based on the evidence below. The steps themselves are covered with a thick red carpet. The balustrade and top newel post are wood. 

Newel:

The top newel is 5” square. The cap is 6.5” by 7” with a 5” diameter circle. There is a 4.5” opening between the newel and the balustrade. 

Balustrade:


The balustrade is made of 1” square wood balusters. They are spaced 3” apart. 

Rail:


The rail along the balustrade within Room 200 is 3” wide. 

Treads:


There are 16 treads leading to Room 100. They are 9.5” deep and 38.5” wide. Exact measurements are difficult because of the thick red carpet covering. 

Risers:


Each step is 7.5” in height. 

[image: image37.jpg]


                     Newel, Balustrade and Stairs in Room 200

Room 202
Floors

Brown painted tongue and groove 2 ½” wide

Base

4 ½” white painted baseboard around entire base of the room

Walls

Drywall with noticeable vertical cracks 4’ apart

Cornice

1” white rounded trim

Ceiling

The same drywall cracks are visible. 1 anomaly- puttied area (2’9” x 1’7 ½”) located 3’ from the east wall 6’ 11” from the south wall  

Doors

3- 5 panel doors, with the closet shorter than the other two to make up for imperfections in the floor height (it is not completely level)

Windows

6 over 6 double sash with white painted trim

Fireplace

Boarded up.  Innovative design- circular decoration placed at the bottom of the mantle, as opposed to the top 

Hardware

Mostly consistent with the rest of the house.  Each window has evidence of a modern window treatment. The closet door has a metal latch, seen on other doors in the house.  The two doors that lead out of the room have metal knobs with keyhole and deadbolt.  The windows are adorned with modern locks and lifters.  The hinges on all three doors are the same.  The door leading into room 201 has a small, modern external latch/lock.  The door leading to room 203 has a small curtain holder in the door frame

Lighting

A modern fixture located at the center of the room

Closet

Cedar panels, placed with finishing nails, line the walls and ceiling, ranging in width from 5 ¾” to 1’.  There are four non-cedar built-in shelves.  The floorboards of the closet are the same material as the main room, but they are not painted brown.  Lighting in the closet is a simple exposed light bulb with a pull string.

Room 203

Floors

Brown painted tongue and groove 2 ½” wide

Base

4 ½” white painted baseboard around entire base of the room

Walls

Drywall with noticeable vertical cracks 4’ apart

Cornice

1” white rounded trim

Ceiling

The same drywall cracks are visible. 1 anomaly- puttied area (2’9” x 1’7 ½”) located 3’ from the east wall 6’ 11” from the south wall  

Doors

3- 5 panel doors, with the closet shorter than the other two to make up for imperfections in the floor height (it is not completely level)

Windows

6 over 6 double sash with white painted trim

Fireplace

Boarded up.  Innovative design- circular decoration placed at the bottom of the mantle, as opposed to the top 

Hardware

Mostly consistent with the rest of the house.  Each window has evidence of a modern window treatment. The closet door has a metal latch, seen on other doors in the house.  The two doors that lead out of the room have metal knobs with keyhole and deadbolt.  The windows are adorned with modern locks and lifters.  The hinges on all three doors are the same.  The door leading into room 201 has a small, modern external latch/lock.  The door leading to room 203 has a small curtain holder in the door frame

Lighting

A modern fixture located at the center of the room

Closet

Cedar panels, placed with finishing nails, line the walls and ceiling, ranging in width from 5 ¾” to 1’.  There are four non-cedar built-in shelves.  The floorboards of the closet are the same material as the main room, but they are not painted brown.  Lighting in the closet is a simple exposed light bulb with a pull string

Room 205

Floors

The floors are 2 1/2” wide wooden boards. The boards have been painted a red-brown color. 

Base

There is a two part base board. The base consists of a flat board that measures 7 1/2” high and quarter round at the base. They have both been painted white.

Walls

The walls are thought to be made of 4’x 6’ pieces of sheetrock. Seams are evident between the panels. The walls have been painted white.

Cornice

At the top of the wall there is quarter round molding around the entire room. The molding is painted white.

Ceiling

The ceiling is composed of large panels that are most likely sheetrock or plasterboard. The sheets have been fastened using screws or nails.

Doors

The room contains two doors. The stairwell door has 5 symmetrical horizontal raised panels. The door measures 31 ¼” across. The door is painted white. The closet door appears to be a bivalve door that has been cut down and converted to a single door. The door is composed to 2 3-panel vertical sections that are attached using modern wire nails. Each panel measures 15” long and 68” long. The inside of the door has 4 horizontal battens.  The interior of the door has been painted black and the exterior is painted white. 

[image: image38.jpg]



Windows

Three windows are present on the North, South and East walls of the room. The North (205-1) and East (205-3) windows measure 33 ½” across and the South (205-2) window measures 33 ¾” across. All three windows are 6/6 and the individual glass panes measure 11 ½” x 9 ½”. 

[image: image39.jpg]



Mantel

A mantel is present surrounding a fireplace that has been closed up. The mantel is plain with flat pilasters. It is probable that the mantle is made of pine because resin has leaked through the paint from the knots in the wood. The mantle is painted white but an underlayer of red-brown paint is visible through a number of chips in the paints surface. At the base of the mantle a stone hearth is present and measures 68” x 1”. 

[image: image40.jpg]



Hardware

Both doors have butt hinges with removable pins. The closet door hinges appear to be copper or a metal similar in color. The stairwell door has an iron knob. The closet door has a side bolt that is attached with screws. 

[image: image41.jpg]



[image: image42.jpg]



                                                                     [image: image43.jpg]



Interior Main House

Basement

Room 001 

Floors

The floor of Room 001 in the basement is made of large cut stones. 

Walls

The north, west and south walls are field stone, which comprise the foundation of the house. The wall has mortar; much has been covered over with Portland cement. The east wall is the unfinished wall along the stairs. Small shelves have been created in between the studs. 

A portion of the wall on the eastern side comes out 4’6” and goes back 6’5”. 

[image: image44.jpg]e

1





Ceiling

The ceiling is unfinished and the floor structure is exposed. The floor joist are 2” by 9” and rough circular saw cut. There is cross bracing between the joists. There is also duct work telephone wires running through out. 

[image: image45.jpg]



Doors

Door 001-1 opens into the room. The door is 3’ wide. It is made of tongue and groove vertical strips with trim around the outside and across the middle. 

[image: image46.jpg]



Windows

The room has four windows. Each is 31” wide and set into the stone foundation 2”. The sash is 27” wide and has six lites. W-001-2 is covered from the interior with plywood. There is a broken sash laying in the floor of the opposite corner of the basement that may have been in that opening. 

The windows are hinged at the top and open into the basement. 

[image: image47.jpg]



W-001-3

Hardware and Fixtures

There is one bare bulb light fixture. The door has a knob and lock on the interior. There is also a small hook on the exterior of the door, suggesting that the lock is no longer functioning.
Room 002

Room 002 is in the center section of the cellar level.  

[image: image48.jpg]



Floors

The floor surface is made of large slate pavers, measuring from one foot three inches by two feet six inches (smallest) to two feet ten inches by four feet five inches (largest).  Care was taken to position one of the largest pavers directly in front of Door-002-2.  

Walls

The stone foundation walls were plastered and originally coated with whitewash.  At a later point a pinkish paint was applied, which is the present outermost layer.  The interior wall that runs N-S on the west side of Room 002 that partitions it from Room 001 and forms the west side of the stairwell is made of beaded tongue and groove board that has been painted green.  The same board was used to finish the framing on the east side of the stairwell.

Ceiling

The ceiling is comprised of 2 ½ inch wide boards that look like flooring, but are attached to the underside of the joists that support the first floor and thus not the floorboards from the room above.

Doors

Door 002-1 is in the north end of the partition wall that separates Room 002 from Room 001.  It is constructed of two inset sections of vertical beaded board within a rail-and-stile configuration, and is identical to Door 002-5 directly across from it.

Door 002-2 is centrally located in the south wall of Room 002 and provides access to the excavated area that runs underneath the porch along the side of the house.  The door opening is flared so that the interior width is approximately five inches wider that the exterior width.  The door has a red and brown grain-painted decorative treatment and green painted trim.  The upper half of the door had six panes of glass in a three-over-three configuration, over a single large panel in the bottom half.  The door is on iron strap hinges and has a mortise lock with an iron know and escutheon plate.  

Doors 002-3 is a pair of doors made of vertical beaded board that provide access to a closet constructed between Room 002 and extending into Room 003.  The closet interior is constructed of plywood, so this is a 20th century feature.

Door 002-4 is located at the south end of the stairwell and provides access to a small closet under the stairs.  The door is grain-painted in a similar manner to Door 002-2 and has two raised panels.  This door is not in its original location because it has the ghost of a lock and keyhole at the bottom, suggesting it has been installed upside-down from its original intention.  This suggests that Door 002-2 may also be relocated, given the similar painted decoration that suggests the doors were located in the same room originally.    

Windows

W-002-1 is located in the south wall, to the east of Door-002-2.  It has a six-over-six configuration.  The window jambs are flared so that the interior width is approximately five inches wider that the exterior width, increasing the amount of light in the room without increasing the size of the window opening.  

Window-002-2 is located in the north wall and is made of two side by side sashes, the west sash being six-over-six panes and the east sash being two-over-two panes.  The panes measure eight by nine ½ inches.  The sash slides to either side into pockets that are hidden behind horizontal beaded board.  The sash can be secured closed with a hook and 

eye closure.  

[image: image49.jpg]



Fireplaces

The east wall has a centrally-located fireplace.  The firebox is covered up.  The wooden mantel has decorative square pilasters.  

[image: image50.jpg]



Other

In the southeast corner of the room is a large metal furnace.  

Stairs

Centrally located along the western wall of Room 002 is the stairs, providing interior access between the cellar and first floor.  The flight of stairs consists of twelve steps.  The present stairs were constructed around the mid-twentieth century, as indicated by the laminate wood and modern wire nails used in their construction.  

[image: image51.jpg]



Room 003
Floors

Large stones ranging in size from 2’ x 1’4 ½” to 2’11 ¼” x 4’3”.  They are mostly smooth, gray and some are filled in with concrete.  There are some apparent water stains and cracks as well as some uplifting

Walls

The masonry foundation wall is covered with a thin layer of cement and then plaster.  The scratch coat is visible in some areas, for the walls are in poor condition.  There is evidence of mint green, baby pink, and maroon paint, though the chronological order of layers have not yet been identified

Ceiling

2 ½” unfinished tongue and groove.  All electrical and HVAC ductwork is exposed on the ceiling.  A hole reveals that the floor joists are 2” x 9”

Doors

See pictures

Windows      

The windows on the north and east wall are pocket windows.  On the south side, the window is a fixed, four pane square

Fireplace

The room was previously used as a kitchen, but has been closed-in, like the remaining fireplaces in the house (see sketch for corner detail and dimensions)

Hardware

The hardware on the doors is consistent with the rest of the house (latches and door knobs).  A modern bolt is located on the exterior door

Closet (004)

In the closet is the exposed masonry wall of the foundation.  Under the window is older, brown sheetrock with instructions plastered to it for easy reference.  There is a pocket window, similar to but, smaller than the other two.  Two shelves are on the western wall and a corner shelf in the southeast corner

Miscellaneous

“Glen” and “Fred” are penciled on the right of the fireplace with marks indicating that it was used to measure their heights.  Also, there is a plaque on the upper right of the mantle that reads “C. E. Winston” and the address of the residence.  To the right of the fireplace, looking west, is a 7” step, which continues out of the room

Interior Main House

Attic

Attic

Floor

The attic lacks a floor and is only a series of joists. 

Walls

A remnant of an exterior brick wall is visible in the attic. The wall appears to have a chimney stack built against it. 

Joists

The joists measure 24 x 70. There are 12 inch boards nailed between the joists and the rafters every 2 feet.

Rafters

The rafters are 24 x 48 pine circular saw cut boards. The rafters connect to a ridge board.

[image: image52.jpg]



Collars

Collars are present but appear to be an addition to the house. 

Sheathing

The sheathing measures ¾ x 72-96. The sheathing is present underneath of sheetrock and under the tin roof. 

Nails

All nails observed are wire nails.

Chimney

[image: image53.jpg]



Visible nails used for 


hanging meat to be smoked.





Door 105-1





Door 105-2





Inside


Door D-205-2





W-205-3





W-205-2





D-205-2


Closet door with side bolt and screws





possible copper closet door hinge





Seam connecting 


bi-fold doors








